With IHE 標準架構為基礎初探台北市立醫院導入 PACS 之流程 IHE standards-based architecture of Taipei City Hospital into the process of PACS

PACS Implementation in Municipal Hospitals in Taipei: PACS Implementation in Municipal Hospitals in Taipei:

Initial Evaluation with IHE Initial Evaluation with IHE

趙婉純 ab 、林怡君 bd 、劉建財 cd 、黃興進 b Ms Chiu pure ab, Yi-Chun Lin bd, Chien-Tsai cd, Xing Jin b

Woan-Chwen Jaw ab , I-Chun Lin bd , Chien-Tsai Liu cd , Hsin-Ginn Hwang b Woan-Chwen Jaw ab, I-Chun Lin bd, Chien-Tsai Liu cd, Hsin-Ginn Hwang b

a 台北市立中興醫院放射科 、 b 國立中正大學資管所 a Department of Radiology, Taipei Municipal Chung Hsing Hospital, b National Chung Cheng University Information Management

c 台北醫學大學醫學資訊所， d 台灣健康資訊交換第七層協定協會 c Taipei Medical University Medical information is, d Taiwan Health Level Seven Society Information Exchange

misrad@mis.ccu.edu.tw misrad@mis.ccu.edu.tw

摘要 Summary

IHE 是一個流程導向，為整合各種不同醫療資訊系統與醫療儀器設備的技術標準架構，強調醫療業務之流程最佳化設計。 IHE is a process-oriented, in order to integrate different medical information systems and medical equipment technical standards framework, emphasizing health care business process optimization. 台北市政府衛生局自九十二年七月起規劃推動組織再造，積極推行醫療資訊整合工作，即揭示建置院際間 HIS ， PACS 及檢驗資訊管理系統（ Laboratory Information management System, LIS ）等。 Taipei City Government in July from 9 years to promote the reorganization plan, actively promote the integration of medical information that reveals the build inter-hospital HIS, PACS and Laboratory Information Management System (Laboratory Information management System, LIS) and so on. 自 2004.05.10 在第一家台北市立醫院開始 PACS 專案交機起，預計以傲人的速度和效率在同年九月完成 PACS 的導入。 Since 2004.05.10 Taipei Municipal Hospital in the first cross machine started from the PACS project is expected to be proud of the speed and efficiency of the PACS in the same year in September to complete the import. 本文希望藉紀錄台北市立醫院導入 PACS ，初步以 IHE 標準探討市醫放射科作業流程，做為後續研究之依據。 This article will take the records into the Taipei City Hospital, PACS, a preliminary to the standard of the city hospital IHE radiology processes, as the basis for future research.

關鍵詞：醫療企業整合、醫療影像儲傳系統、醫院資訊系統、放射科資訊系統 Keywords: medical enterprise integration, medical PACS, hospital information system, radiology information systems

Integrating the healthcare Enterprise （ IHE ） is an initiative designed to stimulate the integration of the information systems that support modern healthcare institutions. It defines a technical framework for the specific implementation of established messaging standards to achieve clinical goals, which promote appropriate sharing of medical information to support optimal patient care. We observed the PACS implementation in Municipal Hospitals in Taipei with IHE Technical Framework, to know the standard workflow of radiology. Integrating the healthcare Enterprise (IHE) is an initiative designed to stimulate the integration of the information systems that support modern healthcare institutions. It defines a technical framework for the specific implementation of established messaging standards to achieve clinical goals, which promote appropriate sharing of medical information to support optimal patient care. We observed the PACS implementation in Municipal Hospitals in Taipei with IHE Technical Framework, to know the standard workflow of radiology.

Key Words: IHE 、 PACS 、 HIS 、 RIS Key Words: IHE, PACS, HIS, RIS