| • 系統編號 | RG9801-0220 |  |  |
| --- | --- | --- | --- |
| • 計畫中文名稱 | 建立Benzodiazepines類(Nimetazepam, Nitrazepam, Flunitrazepam及其代謝物)尿液檢體之LC-MS,GC-MS檢驗方法及相關性研究 |  |  |
| • 計畫英文名稱 | -- |  |  |
| • 主管機關 | 行政院衛生署 | • 計畫編號 | DOH97-NNB-1011 |
| • 執行機構 | 台北醫學大學藥學系 |  |  |
| • 本期期間 | 9701 ~ 9712 |  |  |
| • 報告頁數 | 92 頁 | • 使用語言 | 中文 |
| • 研究人員 | 李慶國；徐榮發；謝金霖；王光全；； Lee, Ching-Kuo；；；；； |  |  |
| • 中文關鍵字 | 一粒眠；液相層析串聯質譜；氣相層析串聯質譜；濫用藥物；；；； |  |  |
| • 英文關鍵字 | Nimetazepam；LC-MS；GC-MS；Abuse drugs；；；； |  |  |
| • 中文摘要 | 常見濫用藥物被併用 (例如:搖頭丸及Nimetazepam併用，搖頭丸、Ｋ他命、Nimetazepam及Estazolam併用中的一粒眠Nimetazepam及類似物Nitrazepam和Flunitrazepam的代謝物尿液檢體之LC-MS/MS及GC-MS檢驗方法開發與此兩種分析儀器比較評估，由檢驗之角度觀之，不同化學結構之藥品成分，由尿中均可檢出個別藥物成分及其相對之代謝物，不會產生相互干擾之現象，此類藥物在尿液中量微，定出實際於鑑定時的指標代謝物，增加實際運用之可信度。另評估LC-MS/MS對此類藥物及其代謝物鑑定結果與目前濫用藥物尿液鑑定常用的GC/MS法間之差異及關連性。如此，利用液相層析串聯質譜儀高感度不須衍生之特性，於濫用藥物尿液之廣篩，對於部分搖頭族採尿檢驗時之MDMA成分鑑定之外，一併鑑定Nimetazepam，另對性侵害尿液藥物鑑定建立標準可信的分析方法，可以節省鑑定單位之鑑定時間及成本。 |  |  |
| • 英文摘要 | Nimdetazepam has been used along with other abused drugs including Ecstasy “shake-head pill”, Ketamine and estazolam. In this study, we use both LC-MS/MS and GC-MS instruments to establish the elucidation of Nimetazepam and its analogus Nitrazepam and Flunitrazepam, against their urine samples in order to provide a protocol of forensic as well as medical identification. According to the observation, we noted that LC-MS/MS performs the illucidation in a much better outcome than that of GC-MS, a traditional identification instrument, because LC-MS/MS could resolve the starting drug and its metabolites in the urine. |  |  |