| • 系統編號 | RB8510-1372 |  |  |
| --- | --- | --- | --- |
| • 計畫中文名稱 | 丙酮酸對藥物乙醯反應之影響(II) |  |  |
| • 計畫英文名稱 | Effects of Pyruvic Acid on Acetylation of Drugs. (II) |  |  |
| • 主管機關 | 行政院國家科學委員會 | • 計畫編號 | NSC83-0412-B038-007 |
| • 執行機構 | 台北醫學院藥學系 |  |  |
| • 本期期間 | 8302 ~ 8307 |  |  |
| • 報告頁數 | 0 頁 | • 使用語言 | 英文 |
| • 研究人員 | 許光陽 Hsu, Kuang-Yan |  |  |
| • 中文關鍵字 | 外胺基苯酸；代謝產物；高效能液相層析法；螢光偵測 |  |  |
| • 英文關鍵字 | p-aminobenzoic acid；Metabolite；High performance liquid chromatography (HPLC)；Fluorescence detection |  |  |
| • 中文摘要 | 以高效液相層析法配合螢光偵測器發展一操作簡便、準確性高及靈敏度佳之方法來檢測血漿中p-aminobenzoic acid(PABA)及其代謝物:p-acetaminobenzoic acid(PAABA), p-aminohippuric acid(PAHA), p-acetaminohippuric acid(PAAHA)。分析條件如下:層析管柱為Cosmosil MS-C18(長度4.6*250毫米,內徑5微米),並控制溫度在40度。流動相由水和甲氰和醋酸組成,其比例為100比3比1 (pH=4),流速則為每分鐘1.5毫升。螢光偵測器之激發及發射波長分別為270及350nm。分析方法如下:取200微升之血漿用含內部標準物質---水楊酸之1M過氯酸150微升酸化後,離心取30微升之上清液直接注入層析管柱。利用此法可在25分鐘內分析完此四個化合物。PABA及其三個代謝物PABA,PAABA,PAHA及PAAHA在0.1-50微克/毫升、0.2-50微克/毫升、0.1-50微克/毫升、0.5-50微克/毫升的濃度範圍內進行檢量線製作,得到直線性良好結果(r,0.99);且確效實驗中變異係數均不超過15%。將PABA以每公斤20毫克之劑量靜脈注射至七隻兔子後, PABA可以一室法描述其體內動態,半衰期為10.90.plmin.1.03分;而其代謝物的半衰期分別為PAABA-24.61.plmin.6.42分, PAHA-12.81.plmin.6.04分,PAAHA-11.27.plmin.2.77分。 |  |  |
| • 英文摘要 | A simple, accurate and sensitive high-performance liquid chromatographic (HPLC) method with fluorescence detection was used for measuring plasma concentrations of p-aminobenzoic acid (PABA) and its three metabolites: p-acetaminobenzoic acid (PAABA), p-aminohippuric acid (PAHA) and p-acetaminohippuric acid (PAAHA). A Cosmosil MS-C18 column (4.6*250mm, 5.mu.m) was used under temperature control at 40.degree.C. The mobile phase was H/sub 2/O-CH/sub 3/CN-CH/sub 3/COOH (100:3:1, pH=4.0) with a flow rate of 1.5ml/min. The excitation and emission wavelengths for fluorescence were set at 270 and 350nm, respectively. Plasma samples (200.mu.l) were acidified by the addition of 150.mu.l of 1M HClO/sub 4/ solution containing salicylic acid (SA) as internal standard. After centrifugation, 30.mu.l Of the supernatant was injected onto the column. Using this method, PABA and its 3 metabolites could be determined within 25 min. Within the investigated concentration ranges of PABA (0.1-50.mu.g/ml), PAABA (0.2-50.mu.g/ml), PAHA (0.1-50.mu.g/ml) and PAAHA (0.5-50.mu.g/ml), good linearity (r>0.99) for the standard curves was obtained. The validation of this method showed coefficient of variance (CV) well below 15% for all compounds After intravenous (I.V.) administration of PABA (20mg/kg) to rabbits (n=7), PABA followed a one-compartment open model elimination with a half-life of 10.90.plmin.1.03 min. The mean half-lives for PAABA, PAHA and PAAHA were 24.61.plmin.6.42, 12.81.plmin.6.04 and 11.27.plmin.2.77 min, respectively. |  |  |