牙本質表面狀況與複合樹脂之間抗張鍵結力的關係:

The effect of various dentin surface condition on tensile bond

中文摘要

牙本質表面的塗抹層及潤濕程度會影響複合樹脂與牙本質之間的鍵結力

，酸蝕牙本質去除塗抹層，使樹脂底劑能與牙本質小管接觸，底劑中的親

水性樹脂－HEMA就能夠順利的深入牙本質小管，是增加鍵結強度的主要因

素．90顆成人第三大臼齒牙根切除，並清除牙髓，髓腔充滿生理食鹽水，

以雙面膠及自聚性樹脂封閉．頰側牙本質經由#320及#600砂紙研磨，產生

塗抹層，再以 6%檸檬酸，10%蘋果酸，25%鞣酸，10%磷酸等，處理列表面

．經酸處理過的酸蝕組與對照組，分別在髓腔加壓25mmHG及不加壓的條件

下，依底劑，黏著劑，複合樹脂之順序充填，充填後分成兩組為立即做37

℃水浴，及置於恒溫箱37℃，24小時後才做水浴，水浴24小時後取出做拉

力試驗．酸蝕可將牙本質塗抹層清除，除鞣酸以外，牙本質小管開口有擴

大的現象，而鞣酸則有栓塞物在管內．在沒有髓腔壓力下其抗張鍵結強度

，磷酸、檸檬酸、蘋果酸，三組之間無顯著差異(p>0.05)，而鞣酸與其它

三種酸蝕組則有顯著的差異(p<0.05)．對照組與酸蝕組之間都有顯著的差

異(p<0.05)．酸蝕組在無髓腔壓力下其鍵結強度大於有髓腔壓力．而儲

存24小時後再水浴，其鍵結強度也比立即水浴較大．鞣酸不使牙本質小管

開口擴大，且有部份栓塞，因而在無髓腔壓力的情況下，比其它酸處理過

後的鍵結強度較小，但在有壓力的情況則呈現相反的結果．對照組的鍵結

強度在所有的實驗項目中都遠比酸蝕組小(p<0.05)．酸蝕組及對照組之內

，不論髓腔是否加壓，及37℃儲存24小時，它們之間的比較，其結果都有

顯著的差異(p<0.05).結論顯示：牙本質表面塗抹層及過多的水份，會降

低牙本質與複合樹脂之間的鍵結．要完成理想的複合樹脂充填，局部乾燥

牙齒表層的水膜及去除塗抹層是必要的步驟．

英文摘要

Conditioning dentin surface may affect its bonding strength

with composite resin. Acid etching can remove the smear layer,

let the tubular orifice direct contact with dentin primer,

hydrophilic resin-HEMA can easily penetrate into dentinal

tubule, increase the bonding strength. Ninety adult 3rd molar

after cutting off the root, cleaned the pulp chamber wall,

filled with normal saline, sealed the chamber with tape and

blocked with translucent self-cure resin. #320 and #600 sand

paper abrade the buccal dentin surface. 6% citric acid, 10%

phosphoric acid, 25% tannic acid, 10% maleic acid, as etching

solution were used for removing smear layer on dentin surface.

25mmHg hydrostatic pressure was applied to the pulp chamber in

pressure group. Control group with none acid treatment was

included in this experiment. After restoration the samples were

stored in 37℃, 100% humidity closed chamber for 24 hours(

storaged group), then soaked in 37℃ water for 24 hours; or

immediate soaking after restoration. In the results, acid

treated groups show cleaning dentin surface and wide opened

tubule orifice, except tannic acid, there were smear plugs

obstructing the tubule opening. In control group, smear layer

cnanot be removed by water irrigation. Result from TBS test,

with ANOVA and Scheffes posteri comparison, in storaged groups,

there was no significant difference (p>0.05) between citric,

maleic and phosphoric acid treated groups, tannic acid treated

group gives significant difference with others acid treated

groups(p<0.05). Nonhydrostatic pressure groups showed higher

bonding strength than pressure group(p<0.05). Storaged group

shows more bonding strength than immediated soaking group(

p<0.05). In the control group, ther are significant difference(

p<0.05) between pressure, storaged, and immediated soaking

groups. Compared with experiment groups, control group shows

lower bonding strength than acid treated groups(p<0.05). All of

the experiment groups and control group show significant

difference(p<0.05) between storaged, immediate soaking and

pressure within their group.The conclusion was: Both smear layer

and excess water that presents on dentin surface will decrease

bonding strength between dentin surface and composite resin

complex. Therefore, it is necessary to remove excess water and

smear layer on dentin surface for a successful composite resin

bonding.